## Sheet1
SL NO | ITEAM | QTY | MAKE/ORGIN | UNIT | GROUP NUMBER
2-WAY MANIFOLD SYSTEM |  | 1 |  | NO | 1
1 | 2 WAY MANIFOLD | 1 | NOVACOMMET/I ENGG | NO | NEED DISPLAY
2 | PIG TAIL HOSE 100CM | 2 | NOVACOMMET/I ENGG | NO'S
3 | MANIFOLD CONECTOR | 1 | NOVACOMMET/I ENGG | NO
4-WAY MANIFOLD SYSTEM |  | 1 |  | NO | 2
4 | 4-WAY MANIFOLD | 1 | NOVACOMMET/I ENGG | NO | NEED DISPLAY
5 | PIG TAIL HOSE 100CM | 4 | NOVACOMMET/I ENGG | NO'S
6 | MANIFOLD CONECTOR | 1 | NOVACOMMET/I ENGG | NO
MAIN DELIVERY LINE 1/2" |  |  |  |  | 3
7 | Cs pipe line 1/2" | 1 | PRC/NAFFCO | NO | NEED DISPLAY
8 | Isolation valve 1/2" | 2 | I ENGG/SMART ZEN | NO'S
Fittings & Supports 1/2" |  |  | BOTHWELL /THAIWAN |  | 4
9 | Cs welding elbow1/2" | 15 |  | NO'S | NO NEED DISPLAY
10 | Cs welding tee 1/2" | 3 |  | NO'S
11 | Cs welding end cap 1/2" | 2 |  | NO'S
12 | Ms union 1/2" | 3 |  | NO'S
13 | Ms tee 1/2" | 2 |  | NO'S
14 | Ms reducer nipple 1/2*1/4" | 1 |  | NO
15 | Ms reducer nipple 1/2*3/8" | 1 |  | NO
16 | Ms nipple 1/2" | 5 |  | NO'S
17 | Rubber clamp 3/4"" | 3 |  | NO'S
18 | Rubber clamp 1/2" | 30 |  | NO'S
19 | Fix shield 10mm | 1 |  | NO
20 | Thread rod 10mm | 1 |  | NO
21 | C- chanel | 1 |  | NO
22 | U-bolt | 1 |  | NO
23 | L-chanel | 1
24 | Nut 10mm | 500 |  | GRAM
25 | washer 10mm | 250 |  | GRAM
26 | Ms Socket 1/2" | 1 |  | NO
27 | End connection valve 1/2" | 1 | CLESSE/PRC | NO'S | 5
28 | End connection hose 3/8" | 1 | THAIWAN/ITALY | NO'S | 6
MAIN DELIVERY LINE 3/4" |  |  |  |  | 7
29 | Cs pipe line 3/4" | 1 | PRC/NAFFCO | NO | NEED DISPLAY
30 | Isolation valve 3/4" | 2 | I ENGG/SMART ZEN | NO'S
Fittings & Supports 3/4" |  |  | BOTHWELL /THAIWAN |  | 8
31 | Cs welding elbow 3/4" | 15 |  | NO'S | NO NEED DISPLAY
32 | Cs welding tee 3/4" | 3 |  | NO'S
33 | Cs welding end cap 3/4" | 2 |  | NO'S
34 | Cs welding reducer con*3/4"*1/2" | 1 |  | NO
35 | Ms union 3/4" | 3 |  | NO'S
36 | Ms tee 3/4" | 2 |  | NO'S
37 | Ms reducer nipple 1/2*1/4" | 1 |  | NO
38 | Ms reducer nipple 1/2*3/8" | 1 |  | NO
39 | Ms nipple 3/4" | 5 |  | NO'S
40 | Rubber clamp 3/4" | 3 |  | NO'S
41 | Rubber clamp 3/4" | 30 |  | NO'S
42 | Fix shield 10mm | 1 |  | NO
43 | Thread rod 10mm | 1 |  | NO
44 | C-chanel | 1 |  | NO
45 | U-bolt | 1 |  | NO
46 | L-chanel | 1 |  | NO
47 | Nut 10mm | 500 |  | NO
48 | washer 10mm | 250 |  | NO
49 | Ms Socket 1/2" | 1 |  | NO
MAIN DELIVERY LINE 1" |  |  |  |  | 9
50 | Cs pipe line 1" | 1 | PRC/NAFFCO | NO | NEED DISPLAY
51 | Isolation valve 1" | 2 | I ENGG/SMART ZEN
Fittings & Supports 1" |  |  | BOTHWELL /THAIWAN |  | 10
52 | Cs welding elbow 1" | 15 |  |  | NO NEED DISPLAY
53 | Cs welding tee 1" | 3
54 | Cs welding end cap 1" | 2
55 | Cs welding reducer con*3/4"*1/2" | 1 |  | NO
56 | Cs union 1" | 3
57 | Cs tee 1" | 2
58 | Ms reducer nipple 1/2*1/4" | 1 |  | NO
59 | Ms reducer nipple 1/2*3/8" | 1 |  | NO
60 | Ms nipple 1" | 5
61 | Rubber clamp 1"" | 30
62 | Fix shield 10 mm" | 1 |  | NO
63 | Thread rod 10mm | 1 |  | NO
64 | C-chanel
65 | U-bolt
66 | L-chanel
67 | Nut10 mm | 500
68 | washer 10 mm | 250
69 | Ms Socket 1/2" | 1
First Stage Pressure Regulation& Distribution Panel 1/2" |  |  |  |  | 11
70 | Ball valve 1/2" | 1 | I ENGG/SMART ZEN | NO | NEED DISPLAY
71 | Solenoid Valve 1/2"220vV AC | 1 | ODE/I ENGG | NO
72 | Regulator HP 30-60 kg | 1 | NOVACOMMET/CLESSE | NO
73 | Presure gauge 10 bar | 1 | PRC | NO
PRDP Fittings & Supports 1/2" |  |  | BOTHWELL /THAIWAN |  | 12
74 | Ms union 1/2" | 2 |  | NO'S | NO NEED DISPLAY
75 | Ms tee 1/2" | 3 |  | NO'S
76 | Ms reducer nipple 1/2*1/4" | 1 |  | NO
77 | Ms reducer nipple 1/2*3/8" | 1 |  | NO
78 | Ms elbow 1/2" | 2 |  | NO'S
79 | Ms nipple 1/2" | 10 |  | NO'S
80 | Rubber clamp 3/4"" | 3 |  | NO'S
81 | Rubber clamp 1/2" | 30 |  | NO'S
GAS LEAK DETECTION SYSTEM |  |  |  |  | 13
82 | Gas Control Panel 2 zone | 1 | GASSENCE /BOSEAN | NO | NEED DISPLAY
83 | Gas Control Panel 4 zone | 1 | GASSENCE /BOSEAN | NO
84 | Explosion Proof detector | 1 | GASSENCE /BOSEAN | NO
85 | Weather Proof detector | 1 | GASSENCE /BOSEAN | NO
86 | Domestic gas detector | 1 | GASSENCE /BOSEAN | NO
87 | FP 200 Wire 1.5mm | 1 | MAF/I ENGG | NO
88 | Siren 220v AC | 1 | PRC | NO
89 | Emergency Switch | 1 | PRC | NO
Electrical Fittings |  |  | INDIA/UAE |  | 14
90 | GI CONDUIT 20MM | 1 |  | NO | NO NEED DISPLAY
91 | GI CONDUIT 25MM | 1 |  | NO
92 | GI Flexible Conduit 20mm(Copex) | 1 |  | NO
93 | GI Flexible Conduit 25mm(Copex) | 1 |  | NO
94 | GI Junction Box 20mm | 1 |  | NO
95 | GI Junction Box 25mm | 1 |  | NO
96 | GI Conduit Saddle 25MM | 1 |  | NO
97 | GI Conduit Saddle 20MM | 1 |  | NO
98 | GI junction box cover | 1 |  | NO
99 | GI METAL BOX 3X3 | 1 |  | NO
100 | PVC CONDUIT 20MM | 1 |  | NO
101 | PVC CONDUIT 25MM | 1 |  | NO
102 | PVC Flexible Conduit 20mm | 1 |  | NO
103 | PVC Flexible Conduit 25mm | 1 |  | NO
104 | PVC Junction Box 20mm | 1 |  | NO
105 | PVC Junction Box 25mm | 1 |  | NO
106 | PVC Conduit Saddle 25MM | 1 |  | NO
107 | PVC Conduit Saddle 20MM | 1 |  | NO
108 | PVC BOX 3X3 | 1 |  | NO
109 | PVC JUNCTION BOX COVER | 1 |  | NO
110 | PVC BOX 3X3 COVER | 1 |  | NO
111 | PVC TRUNKING 30X30 | 1 |  | NO
112 | Black screw 6mm | 1 |  | NO
113 | Fisher plug 6mm | 1 |  | NO
114 | Masking tape | 1
CONSUMABLES |  |  | NOT APPLICABLE |  | 15
115 | Welding Electrode | 1 |  |  | NO NEED DISPLAY
116 | Teflon Tape | 1
117 | Hand Glows | 1
118 | cutting Disc | 1
119 | Granding Disc | 1
120 | Grease Tape | 1
121 | Black PVC wrapping tape | 1
122 | cotton Waste
123 | WD 40 | 1
124 | Thread Lock sealant | 1
125 | Commision
126 | Transportation
Standard LPG Painting as per the CD Requirements |  |  | NOT APPLICABLE |  | 16
127 | Paint 348 Yellow | 1 |  |  | NO NEED DISPLAY
128 | Primer NC | 1
129 | Tinner NC | 1
130 | paint Brush 2" | 1
131 | Paint 670 RED | 1
132 | Paint Roller | 1
133 | Rollar refill | 1
Nitrogen Pressure Testing & Commissioning Charges |  |  | NOT APPLICABLE |  | 17
134 | Nitrogen Cylinder |  |  |  | NO NEED DISPLAY
135 | Over Head Expence
136 | Manpower
Civil Defence Drawing Designing & Final Inspection |  |  | NOT APPLICABLE |  | 18
137 | Drawing | 1 |  |  | NO NEED DISPLAY
| 2-way Cylinder Cabinet | 1 | LOCALY FABRICATED |  | NEED DISPLAY
| 4-way Cylinder Cabinet | 1 | LOCALY FABRICATED |  | NEED DISPLAY
| 2-way Cylinder Cabinet modification | 1 | LOCALY FABRICATED |  | NEED DISPLAY
| 4-way Cylinder Cabinet modification | 1 | LOCALY FABRICATED |  | NEED DISPLAY
| Annual Maintenanace Contract | 1 | NOT APPLICABLE |  | NEED DISPLAY
| One Year Free Maintenance & Warranty For Materials | 1 | NOT APPLICABLE |  | NEED DISPLAY